### CEE  DP-M24

Function and performance:

Optional installation the following four to eight items that move light/switch module.

Independent air switch insurance 4 road.

The optional 4.3 -inch touch panel,standard DMX512 signal control (1990).

Technical parameters:

Dimming Range:0-100%

Continuous working period:24 hours

Working temperature：0℃-40℃

Relative humidity：10%-90%