### CEE  DP-7PP

Function and performance:

Adjustable light LED constant current drive output, single-channel maximum current of 350 mA / 700 mA.

110-240V 50-60Hz AC voltage input.

Standard DMX512 signal control (1990).

More than 1024 high-precision dimmer.

More than 2 KHz high refresh rate.