### CEE  DP-220S

Function and performance:

2 channels switch control,2 channels * 20A

Power supply:AC220V±10%，50Hz±2%，single-phase three-wire power input.

Zero voltage switching action,effectively restrain relay contact spark.

Standard DMX512 signal control (1990)

High precision through zero detection technology,each channel output consistency is good.

Using wall-hung type or hanging-type installation，easy to maintain.

Bus power consumption:

Dynamic current:40mA/DC24V

Quiescent current:15 mA/DC24V

Switch circuit :12 channels

Each  switch circuit maximum current：16A

Relay contact electrical life:＞ 60000 times（resistance load）