### CEE  CP-K12

Function and performance:

10 button set and function of rise and fall

Button lights intelligent display the light scene running state

Aluminum alloy wire drawing panel

Connect the computer USB interface

Support CAN – BUS cascading, multiple panels at the same time control lighting scenarios

Technical parameters:

Environment temperature: -10℃~+35℃,well ventilated.

Relative humidity: ２０％～９０％,no dust.