### CEE  CP-K08

Function and performance:

6 button set and function of rise and fall

Button lights intelligent display the light scene running state

As a DMX controller, 64 light output, support the standard DMX512 (1990).

The light path of 32 region management

Save 100 scene, scene gradient time 0.1 to 60 seconds

Effect running function of two groups, each group of twenty steps, running time 0.1 to 60 seconds

Aluminum alloy wire drawing panel

Connect the computer USB interface

Support CAN – BUS bus cascading, multiple panels at the same time control lighting scenarios

Technical parameters:

Environment temperature: -10℃~+35℃,well ventilated.

Relative humidity: ２０％～９０％,no dust.