### CEE  CP-M512D

Function and performance:

4.3 inch TFT color touch screen display

Custom icon personality, can be easily replaced

100 real-time clock triggers, second level precision, real-time automatic switching scenarios

12 buttons, scene can be set/effect is triggered, the scene scene brightness adjustment

Miscro SD card saving data

Connect the computer USB interface

Support CAN – BUS bus cascading, multiple panels at the same time control lighting scenarios

Aluminum alloy shell, 120 general bottom box or special metal box installed.

Technical parameters:

Environment temperature: -10℃~+35℃,well ventilated.

Relative humidity: ２０％～９０％,no dust.