### CEE  CP-M512

Function and performance:

4.3 inch TFT color touch screen display

Custom icon personality, can be easily replaced

Support display in both Chinese and English

As a DMX controller, 512 light output, support the standard DMX512 (1990).

The light path of 32 region management

Save 100 scene, scene gradient time 0.1 to 60 seconds

Effect running function of two groups, each group of twenty steps, running time 0.1 to 60 seconds

100 real-time clock triggers, second level precision, real-time automatic switching scenarios

12 buttons, scene can be set/effect is triggered, the scene scene brightness adjustment

Miscro SD card saving data

Connect the computer USB interface

Support CAN – BUS bus cascading, multiple panels at the same time control lighting scenarios

Technical parameters:

Environment temperature: -10℃~+35℃,well ventilated.

Relative humidity: ２０％～９０％,no dust.