### CEE  LG-6BX

Function & Performance

●Convert DMX signal from controller to DC 0-10V analog signal.

●6 channels 0-10 volts analogue controlling signal output.

●Power supply：AC220V±10％，50Hz±2％,single-phase three-wire power input.

●Standard DMX512 input, address code settable.

●Using hang a wall or hanging-type installation which is easy to maintain.