### CEE  POWER 18-42

18-42 channel  direct-power case

Function and performance

● 18 to 42 channels for choice, between convenience power source electric appliance connection.

●With  two step switches, conform to the power supply standard.

● Power instruction anterior board: voltage meters or voltage current meters for choice (customization).

●Channel switch anterior board:6-channel type or 12-channel type for choice (match with output back board, customization).

●Many kinds of output back board(3*10A,40A,three core waterproofing insert,32Athree core bakelite insert,19cores)choose time-saving.

Order information

| Model | Description | Dimension(mm) | weight |
| --- | --- | --- | --- |
| POWER-18 | 18 ch | 600*520*750 | 26KG |
| POWER-24 | 24ch | 600*520*860 | 28KG |
| POWER-36 | 36 ch | 600*520*1080 | 42KG |
| POWER-42 | 42 ch | 600*520*1190 | 49KG |