### CEE  DP-POWER

Function and performance

● in sets at the DMX signal processor, has guards against the short circuit, guards against exchanges has pressed, guards against the thunder stroke function.

● The DMX signal enlarges, isolates the breakdown and the enlarge transmitting range effectively.

● the convenience mains input and between various silicon box connects, has multi-channel goes nonstop to the power source.

● the three-phase voltage instruction and two step switches, conform to the power supply standard.

Order information

| Model | Description | Size | Weight |
| --- | --- | --- | --- |
| DP-POWER | The multi-function power box | 483*470*140 | 10KG |