### CEE  DR-060DZ,DR-072DZ,DR-096DZ

DR-060DZ、DR-072DZ、DR-096DZ Digital pass-through ark

Function and performance

●Brand-new appearance design with compact structure rational heal dissipation structure ,high efficient dust filter and powerful low noise fan prolong the service life of equipment.

●Digital duplex intelligent dual decoder designed based on military standard , stave decoder will take the work in 0.11 second automatically if the main decoder breaks down and show the wrong place ,which assure the reliance and stability of the system.

●Adopt imported high quality 32A OMRON  relay, isolation voltage of 7500 v.

●The whole equipment passed the First Grade Equipment of International Standard. It can allot the signal and voltage equally. Multifarious control signals and lighting control curves for user to choose.

● Input and output power supply can be connected from top or bottom.

●60 or 72 or 96 channel outputs(6kw/channel).

Technical Parameter:

●Power:3-PH 5-wire/monophase 3-wire 50Hz±1Hz

●Mono-phrase at AC220V±10%（AC）

●Dimmer module :6kw or 3kw

●Control signal:DMX-512(digital) ventilation

●Temperature: -10℃~+35℃ no smoke and dust

●Humidity: 20%~90%， Work bar: 86~106Kpa