### CEE  DR-i60DZ、DR-i72DZ、DR-i96DZ

DR-i96DZ、DR-i72DZ、DR-i60DZ  Network and high precision direct ark

Function and performance：

●in two sets at the embedded Ethernet controller and 1024 level of triggering systems, the full-duplex hot backup work.

● the standard double RJ-45 network connection and the double DMX-512 connection disposition (coca buys optical fibre connection) to control the signal input, but simultaneous reception random two group of DMX-512 signal, composition many kinds of control mode.

● the support network long-distance establishment and the centralism monitoring, conforms to the IEE802.3 ether network protocol, backward compatible ACN advanced network control protocol.

● supply frequency automatic tracking function.

●intelligent air blower control function, according to temperature automatic control air blower switch.

● feeds back the (REPORTING) function: May feed back, monitor each silicon cabinet the active status, the scene adjusts the light function automatic control, the realization, to the light, the urgent accent light.

●10 scene records, editor, replay function.

●10 accent light curve also may the user from the definition (for example linearity, switch, several powers of exponent and so on).

●Adopt imported high quality 32A OMRON  relay, isolation voltage of 7500 v.

●60/72/96 road relay output (6 kw/road)

●60 or 72 or 96  group’s outputs (6KW/ch).

Technical Parameter

● input power supply: Three groups of 5 wire system/single-phase three-wire systems, 50Hz±2Hz, and single-phase operation voltage 220V±10%AC.

●control connection: Double DMX-512(1990), the double RJ-45 network connection (coca buys optical fibre connection).

● the ambient temperature: - 10℃~+35℃, ventilates is good.

● relative humidity: 20%~90%, does not have the mist and dust.

● atmospheric intensity of pressure: 86~106Kpa.