### CEE  DR-i60D、DR-i72D、DR-i96D

DR-i96D、DR-i72D、DR-i60D Network high LCD Dimmer Rack

Function and performance：

●in two sets at the embedded Ethernet controller and 1024 level of triggering systems, the full-duplex hot backup work.

● the standard double RJ-45 network connection and the double DMX-512 connection disposition (coca buys optical fibre connection) to control the signal input, but simultaneous reception random two group of DMX-512 signal, composition many kinds of control mode.

● the support network long-distance establishment and the centralism monitoring, conforms to the IEE802.3 ether network protocol, backward compatible ACN advanced network control protocol.

● voltage automatic compensation function, when input voltage change, the output voltage may the automatic control maintenance be consistent.

● supply frequency automatic tracking function.

●intelligent air blower control function, according to temperature automatic control air blower switch.

● feeds back the (REPORTING) function: May feed back, monitor each silicon cabinet the active status, the scene adjusts the light function automatic control, the realization, to the light, the urgent accent light.

●10 scene records, editor, replay function.

●10 accent light curve also may the user from the definition (for example linearity, switch, several powers of exponent and so on).

●adopt imported high quality 80A silicon ,ensure each return route independent preheating value (0-100%) and restriction value (0-100%) hypothesis function.

●60 or 72 or 96  group’s outputs (6KW/ch).

Technical Parameter

● input power supply: Three groups of 5 wire system/single-phase three-wire systems, 50Hz±2Hz, and single-phase operation voltage 220V±10%AC.

●control connection: Double DMX-512(1990), the double RJ-45 network connection (coca buys optical fibre connection).

● the ambient temperature: - 10℃~+35℃, ventilates is good.

● relative humidity: 20%~90%, does not have the mist and dust.

● atmospheric intensity of pressure: 86~106Kpa.

Order Information

| Model | Description | Dimension(mm) | Weight |
| --- | --- | --- | --- |
| DR-i60D | 60channel (6kw/channel),digit lighting | 565*600*1500 | 260kg |
| DR-i72D | 72channel (6kw/channel), digit lighting | 565*600*1500 | 290kg |
| DR-i96D | 96channel (6kw/channel),digit lighting | 565*600*1900 | 350kg |