### CEE  CP-12/24A、CP-24/48A

Function and performance

●Digital/Analogy lighting console series consists of the 12/24 channels or 24/48 channels , being used in medium or small-sized performance terms or mobile recreational groups .

●ADD/SWOP two flash effects ,4 groups Preset programmable control and add A/B cue directly

●A or B cue control ,easy for user to switch scenes

●It offers ground master ,FX master A/B master and flash level

●12 sub-masters ,facilitate the operation

Technical Parameter

●Voltage: AC220V±10%，50Hz±2%

●output:DMX-512（1990）(option:0-10V analogy signal output)

- Output channel:12,24,48

●Environmental temperature : -20℃～+45℃

●Relative hunidity:20%-90%

●Working environment: Ventilating well ,and where there is not a large amount of smoke and dust

Order information

| Model | description | Dimension(MM) |
| --- | --- | --- |
| CP-12/24A | 24 faders 10submasters,4 channels controllable program |  |
| CP-24/48A | 48 faders 10submasters,4 channels controllable program |  |