### CEE  CP-600

## Technical parameter：

CEE  CP-600 “WANGLONG” English Computer Lighting Console

Function and performance

●maximum 1024 channels,1024 DMX512 channels, 96 faders, 36 sub-masters .

●can patch one or two TFT monitor, the Chinese and English  user interface.

●96 fades ,36 sub-masters (9 pages), 4 effect starters.

●2000 scenes, 99 effects (99 steps), 1000 groups, 99macros

● USB flash memory function.

●military technology, and component adopt ,Dual power unit and dual machine backup function .Backup machine can pre-store more than 100 scenes to secure operation.

●with Chinese-English help system. May retrieve and read the lighting console information at ease, facilitates the user.

●can upgrade and promote the TCP/IP network and optical outputs, and with light-controlled  Ethernet.

Technical Parameter

● working voltage: AC220V±10%,50Hz±2%

●output signal: DMX-512(1990).

●may select purchase the TCP/IP network signal output, and optical fibre outputs

●ambient temperature: - 20℃±45℃

● relative humidity: 20%-90%

●working conditions: Ventilates good, not massive mist and dust

Order information

| Model | Description | Size | Weight |
| --- | --- | --- | --- |
| CP-600 | 100-2048ch,96faders 36submasters（9 pages） |  |  |